## Water Quality
Cost Share Program Cost Effectiveness Calculator
Project / components | lbs. TN removed/year | Amount of Funding requested | O&M ($/year) info only | Service Life | $/lbs. TN removed
Example TN Project | 20000 | 2000000 | 2000 | 20 | 5
Example TN Project | 20000 | 2000000 | 2000 | 5 | 20
Example TN Project | 20000 | 2000000 | 2000 | 10 | 10
0
0
0
0
|  |  |  | Total: | 35
* Amount of Funding requsted - include capital , total construction, land acquisition, planning, permitting and design costs
Do not include in-kind or outside source funding amounts
Project / components | lbs. TP removed/year | Amount of Funding requested | O&M ($/year) info only | Service Life | $/lbs. TP removed
Example TP Project | 20000 | 2000000 | 2000 | 20 | 5
Example TP Project | 20000 | 2000000 | 2000 | 5 | 20
0
0
0
0
0
|  |  |  | Total: | 25
Project / components | lbs. sediment removed/year | Amount of Funding requested | O&M ($/year) info only | Service Life | $/lbs. Sediment removed
Example Sediment Project | 20000 | 500000 | 2000 | 20 | 1.25
Example Sediment Project | 20000 | 500000 | 2000 | 5 | 5
0
0
0
0
0
|  |  |  | Total: | 6.25

## Water Supply
|  | Cost Share Program Cost Effectiveness Calculator |  |  |  | Service Life for system components (years)
[6 empty] | Component type | Years
Fill in total component cost and O&M costs for each component within the project, as applicable. Fill in MGD below for total project. | [5 empty] | Water conveyance structures: (pipelines, collection & transmission systems) | 40
[6 empty] | Other Structures: (buildings, tankage, site improvements, etc.) | 35
| Q (MGD) = | Amount of water conserved or made available by the total project |  |  |  | Wells | 30
[6 empty] | Process & Auxilliary Equipment: (treatment equipment, pumps, motors, mechanical equipment, etc.) | 20
[6 empty] | Reverse Osmosis Membrances | 5
[6 empty] | Advanced ET Controller | 10
[6 empty] | Faucet Aerator | 10
Project / components | Q(MGD) | Amount of Funding requested | O&M ($/year) info only | Service Life (see table) | $/kgal | Cooling Tower | 10
Example Treatment Project | 1 | 2000000 | 2000 | 20 | 0.27397 | Faucets | 5
Example Treatment Project | 2 | 2000000 | 2000 | 20 | 0.13699 | Irrigation system | 5
[5 empty] | 0 | Line looping | 30
[5 empty] | 0 | Major appliances: dishwasher, clothes washer | 15
[5 empty] | 0 | Plant materials | 5
[5 empty] | 0 | Rain sensors | 5
[5 empty] | 0 | Showerheads | 8
[5 empty] | 0 | Smart Controllers | 10
[5 empty] | 0 | Toilets / Urinals | 30
[5 empty] | 0 | Waterwise Florida Landscape | 20
0
0
0
0
0
0
|  |  |  | Total: | 0.41096
* Amount of Funding requsted - include capital , total construction, land acquisition, planning, permitting and design costs
Do not include in-kind or outside source funding amounts