## Disclaimer
Disclaimer
Revised 1/17/2024
The data obtained from the Suwannee River Water Management District (SRWMD) may be provisional and subject to
revision. The SRWMD specifically disclaims any warranty, either expressed or implied, including but not limited to the
the implied warranties of merchantability and fitness for a particular use. The entire risk as to quality and performance
is with the user. In no event will the SRWMD be liable for any direct, indirect, incidental, special, consequential, or
other damages, including loss of profit, arising out of the use of this data even if the SRWMD has been advised
of the possibility of such damages. If you have any questions, please contact the SRWMD at (386)362-1001
or 1-800-226-1066 (Florida toll-free).
Data courtesy of the U.S. Geological Survey (USGS) was obtained via its automated database
and may have not received USGS Director's approval and as such are provisional and subject to
revision. The data are released on the condition that neither the USGS nor the
United States Government may be held liable for any damages resulting from its use.
Recent data provided by the USGS are preliminary and have not received final approval. Most data relayed by satellite
or other telemetry have received little or no review. Inaccuracies in the data may be present because of instrument
malfunctions or physical changes at the measurement site. Subsequent review may result in significant revisions.
Data users are cautioned to consider carefully the provisional nature of the information before using it for decisions that concern
personal or public safety or the conduct of business that involves substantial monetary or operational consequences.

## SRWMD Data Types
SRWMD Data Types
Data Type | Description
Mean | Daily average of known values.
Point | Individual data point or single measurement.
Continuous Data | Data with a high collection frequency that is automatically collected and transmitted from remote sources, such as sensors or other equipment.
Grab | Single-depth water quality sample.
Blank | Quality control sample with analyte-free water collected and analyzed to detect contamination.
Instantaneous | Instantaneous value(s) from a continuous record.
Total | Total value in preceding interval. Intervals are typically fixed.

## WQ Data Field Descriptions
Water Quality Data File Field Descriptions
Field Name | Description
Station | Station name.
Point_Location_Description | Description of the location where sampling occurred.
Parameter | See Water Quality Parameters tab.
Unit_of_Measure | Units for the water quality parameter.
STORET_Number | Code used by the Florida Department of Environmental Protection and the U.S. Environmental Protection Agency for water quality parameters.
Sample_Collection_Date_and_Time | The date and time when the sample was collected.
Measured_Value | The measured value.
Data_Qualifier_Code | See WQ Data Qualifier Codes tab.
Sample_Type | See SRWMD Data Types tab.
MDL | Method Detection Limit. Calculated as described in EPA 40 CFR part 136 Appendix B. Values below the MDL are not significantly different from 0 at the 99% confidence level.
PQL | Practical Quantitation Limit. Generally twice the MDL. Values greater than the PQL have a 99% chance of truly being greater than the MDL.
Method_Description | Analytical method used. EPA = Environmental Protection Agency. SM = Standard Methods.
Matrix | FIELD DATA: parameters are collected in the field. Includes parameters collected with a field meter or sonde in water. WATER: a water sample is collected, and analyses are performed in the laboratory.
Major_Class_Description | Major class description is Ambient for all data available through this tool. This means data have been collected under ambient (non-experimental) conditions.
Minor_Class_Description | Minor class description is None for all data available through this tool.
Sample_Collection_Organization | Sample collection organization.
Vendor_name | Where lab analyses were performed.
Sample_Comments | Comments that generally reflect issues or concerns encountered during field sampling.
Analyte_Comments | Comments that generally reflect issues or concerns encountered during lab analysis.

## Water Quality Parameters
Water Quality Parameters
The Parameter field in the water quality data files use the Short Name in the table below. See the Long Name for additional information about these parameters. The STORET Number is a legacy system used by the U.S. Environmental Protection Agency and the Florida Department of Environmental Protection. Some parameters are missing STORET numbers because they were custom analyses for which no STORET number is available. Units and Matrix (see Matrix tab) are also included here. Please contact us at (386) 362-1001 if you need additional information.
Short Name | Long Name | STORET Number | Units | Matrix
Water Temp | Temperature, water | 10 | deg C | FIELD DATA
Air Temp | Temperature, air | 20 | deg C | FIELD DATA
Cloud Cover | Cloud Cover | 32 | percent | FIELD DATA
Wind Speed | Wind Speed | 35 | mph | FIELD DATA
Wind Direction | Wind Direction | 36 | degrees | FIELD DATA
Weather | Weather | 41 | code no. | FIELD DATA
Stage | Gage height | 65 | ft | FIELD DATA
Secchi-in. | Depth, Secchi Disk Depth | 77 | in. | FIELD DATA
Secchi | Depth, Secchi Disk Depth | 78 | m | FIELD DATA
ORP (Oxidation-Reduction Potential) | Oxidation reduction potential (ORP) | 90 | mV | FIELD DATA
Conductivity-Field | Specific conductance | 94 | umhos/cm | FIELD DATA
Depth of Collection-ft | Depth | 97 | ft | FIELD DATA
Depth of Collection-m | Depth | 98 | m | FIELD DATA
Depth to 10% of Surface Light | Light attenuation, depth at 10% | 198 | ft | FIELD DATA
Incident Light Intensity | Solar irradiation, local | 200 | ueins/m2/s | FIELD DATA
DO | Dissolved oxygen (DO) | 299 | mg/L | FIELD DATA
DO-Percent Oxygen Saturation | Dissolved oxygen saturation | 301 | percent | FIELD DATA
pH-Field | pH | 400 | std units | FIELD DATA
Salinity | Salinity | 480 | ppth | FIELD DATA
Turbidity-Field (NIR) | Turbidity | 50970 | NTU | FIELD DATA
Depth to Top Sample Interval-ft < LSD | Depth to Top Sample Interval-ft < Land Surface Datum | 72015 | ft | FIELD DATA
Depth to Bottom Sample Interval-ft < LSD | Depth to Bottom Sample Interval-ft < Land Surface Datum | 72016 | ft | FIELD DATA
Water Level Elevation-ft > MSL | Water Level Elevation (Relative to Mean Sea Level) | 72020 | ft | FIELD DATA
Water Column from Casing-ft | Water Column from Casing-ft | 73665 | ft | FIELD DATA
Well Casing Outer Diameter | Well Casing Outer Diameter | 73670 | in. | FIELD DATA
Depth to Top Sample Interval-m | Depth to Top Sample Interval-m | 82047 | m | FIELD DATA
Depth to Bottom Sample Interval-m | Depth to Bottom Sample Interval-m | 82048 | m | FIELD DATA
Turbidity-Field | Turbidity | 82078 | NTU or FNU | FIELD DATA
Measuring Point Elevation-ft | Water level reference point elevation | 82514 | ft | FIELD DATA
Water Level DTW-ft < Measuring Point | Depth to Water (from measuring point) | 82546 | ft | FIELD DATA
Depth of Stream-m | Depth, bottom | 82903 | m | FIELD DATA
Volume Wet Deposition | Volume Wet Deposition | 83177 | L | FIELD DATA
Turbidity-Hach | Turbidity | 76 | ftu | WATER
Color | Color, True | 80 | cpu | WATER
Apparent Color-Unfiltered | Color, Apparent | 81 | cpu | WATER
Conductivity | Specific conductance | 95 | umhos/cm | WATER
BOD | BOD, Biochemical oxygen demand | 310 | mg/L | WATER
pH-Lab | pH | 403 | std units | WATER
Alkalinity | Alkalinity, Total (total hydroxide+carbonate+bicarbonate) | 410 | mg/L | WATER
TSS | Solids, Total Suspended (TSS) | 530 | mg/L | WATER
VSS | Volatile Residue - Suspended | 535 | mg/L | WATER
TN-T | Nitrogen ion (N), Total | 600 | mg/L | WATER
NH4-D | Nitrogen, ammonia as N, Dissolved | 608 | mg/L | WATER
NH3-T 30 day | Nitrogen, ammonia as N, Total | 609 | mg/L | WATER
NH4-T | Nitrogen, ammonia as N, Total | 610 | mg/L | WATER
NO2-T | Nitrogen, Nitrite (NO2) as N, Total | 615 | mg/L | WATER
NO3-T | Nitrogen, Nitrate (NO3) as N, Total | 620 | mg/L | WATER
TKN-D | Nitrogen, Kjeldahl, Dissolved | 623 | mg/L | WATER
TKN-T | Nitrogen, Kjeldahl, Total | 625 | mg/L | WATER
NOx-T | Nitrogen, Nitrite (NO2) + Nitrate (NO3) as N, Total | 630 | mg/L | WATER
NOx-D | Nitrogen, Nitrite (NO2) + Nitrate (NO3) as N, Dissolved | 631 | mg/L | WATER
PO4-D Whatman GF/F | Phosphorus, orthophosphate as PO4, Dissolved | 651 | mg/L | WATER
TP-T | Phosphorus as P, Total | 665 | mg/L | WATER
TP-D | Phosphorus as P, Dissolved | 666 | mg/L | WATER
PO4-D | Phosphorus, orthophosphate as P, Dissolved | 671 | mg/L | WATER
TOC | Carbon, Total Organic (TOC) | 680 | mg/L | WATER
DOC | Carbon, Dissolved Organic (DOC) | 681 | mg/L | WATER
Total Hardness (as CaCO3) | Hardness, Ca + Mg | 900 | mg/L | WATER
Ca-D | Calcium, Dissolved | 915 | mg/L | WATER
Ca-T | Calcium, Total | 916 | mg/L | WATER
Mg-D | Magnesium, Dissolved | 925 | mg/L | WATER
Mg-T | Magnesium, Total | 927 | mg/L | WATER
Na-T | Sodium, Total | 929 | mg/L | WATER
Na-D | Sodium, Dissolved | 930 | mg/L | WATER
K-D | Potassium, Dissolved | 935 | mg/L | WATER
K-T | Potassium, Total | 937 | mg/L | WATER
Cl | Chloride | 940 | mg/L | WATER
SO4 | Sulfur, sulfate (SO4) as SO4 | 945 | mg/L | WATER
F-D | Fluorides, Dissolved | 950 | mg/L | WATER
F | Fluorides | 951 | mg/L | WATER
SiO2-D | Silica, Dissolved | 955 | mg/L | WATER
SiO2-T STORET 956 | Silica, Total | 956 | mg/L | WATER
Si-T | Silicon, Total | 958 | mg/L | WATER
As-D | Arsenic, Dissolved | 1000 | ug/L | WATER
As-T | Arsenic, Total | 1002 | ug/L | WATER
Ba-D | Barium, Dissolved | 1005 | ug/L | WATER
Ba-T | Barium, Total | 1007 | ug/L | WATER
Be-D | Beryllium, Dissolved | 1010 | ug/L | WATER
Be-T | Beryllium, Total | 1012 | ug/L | WATER
Cd-D | Cadmium, Dissolved | 1025 | ug/L | WATER
Cd-T | Cadmium, Total | 1027 | ug/L | WATER
Cr-D | Chromium, Dissolved | 1030 | ug/L | WATER
Cr-T | Chromium, Total | 1034 | ug/L | WATER
Cu-D | Copper, Dissolved | 1040 | ug/L | WATER
Cu-T | Copper, Total | 1042 | ug/L | WATER
Fe-T | Iron, Total | 1045 | ug/L | WATER
Fe-D | Iron, Dissolved | 1046 | ug/L | WATER
Pb-D | Lead, Dissolved | 1049 | ug/L | WATER
Pb-T | Lead, Total | 1051 | ug/L | WATER
Mn-T | Manganese, Total | 1055 | ug/L | WATER
Mn-D | Manganese, Dissolved | 1056 | ug/L | WATER
Tl-D | Thallium, Dissolved | 1057 | ug/L | WATER
Tl-T | Thallium, Total | 1059 | ug/L | WATER
Mo-D | Molybdenum, Dissolved | 1060 | ug/L | WATER
Mo-T | Molybdenum, Total | 1062 | ug/L | WATER
Ni-D | Nickel, Dissolved | 1065 | ug/L | WATER
Ni-T | Nickel, Total | 1067 | ug/L | WATER
Ag-D | Silver, Dissolved | 1075 | ug/L | WATER
Ag-T | Silver, Total | 1077 | ug/L | WATER
Sr-D | Strontium, Dissolved | 1080 | ug/L | WATER
Sr-T | Strontium, Total | 1082 | ug/L | WATER
V-D | Vanadium, Dissolved | 1085 | ug/L | WATER
V-T | Vanadium, Total | 1087 | ug/L | WATER
Zn-D | Zinc, Dissolved | 1090 | ug/L | WATER
Zn-T | Zinc, Total | 1092 | ug/L | WATER
Sb-D | Antimony, Dissolved | 1095 | ug/L | WATER
Sb-T | Antimony, Total | 1097 | ug/L | WATER
Sn-D | Tin, Dissolved | 1100 | ug/L | WATER
Sn-T | Tin, Total | 1102 | ug/L | WATER
Al-T | Aluminum, Total | 1105 | ug/L | WATER
Al-D | Aluminum, Dissolved | 1106 | ug/L | WATER
Se-D | Selenium, Dissolved | 1145 | ug/L | WATER
Se-T | Selenium, Total | 1147 | ug/L | WATER
Chl-a | Chlorophyll a, uncorrected for pheophytin | 32210 | mg/m3 | WATER
Chl-a Corrected | Chlorophyll a, corrected for pheophytin | 32211 | mg/m3 | WATER
Chl-b | Chlorophyll-b | 32212 | mg/m3 | WATER
Chl-c | Chlorophyll-c | 32214 | mg/m3 | WATER
Pheophytin Corrected | Pheophytin-a | 32218 | mg/m3 | WATER
Ratio Chl-a/Pheo | Chlorophyll/Pheophytin ratio | 32219 | ratio | WATER
Hardness Calculated Ca+Mg | Hardness- Calculated (CaCO3) | 46570 | mg/L | WATER
TDS | Solids, Total Dissolved | 70300 | mg/L | WATER
PO4-T | Phosphorus, orthophosphate as P, Total | 70507 | mg/L | WATER
Bromide | Bromide | 71870 | mg/L | WATER
Hg-D | Mercury, Dissolved | 71890 | ug/L | WATER
Hg-T | Mercury, Total | 71900 | ug/L | WATER
Turbidity | Turbidity | 82079 | ntu | WATER

## WQ Data Qualifiers
Water Quality Grab Sample Data Qualifier Codes
For water quality sampling, SRWMD uses FDEP (Florida Department of Environmental Protection) SOPs (Standard Operating Procedures) which includes their Data Qualifier Codes referenced in DEP-SOP-001/01 FM 1000 Field Planning and Mobilization, Table FM 1000-1 Data Qualifier Codes which can be found at https://floridadep.gov/dear/quality-assurance/content/dep-sops. In addition to the FDEP Qualifier Codes, SRWMD has added other codes specified as an SRWMD Internal Code below.
Code | Description
A | Value reported is the arithmetic mean (average) of two or more determinations. This code shall be used if the reported value is the average of results for two or more discrete and separate samples. These samples shall have been processed and analyzed independently. Do not use this code if the data are the result of replicate analysis on the same sample aliquot, extract or digestate.
B | Results based upon colony counts outside the acceptable range. This code applies to microbiological tests and specifically to membrane filter colony counts. The code is to be used if the colony count is generated from a plate in which the total number of coliform colonies is outside the method indicated ideal range. This code is not to be used if a 100 mL sample has been filtered and the colony count is less than the lower value of the ideal range.
D | Measurement was made in the field (i.e., in situ). This applies to any value (ex. pH, specific conductance, etc.) that was obtained under field conditions using approved analytical methods. Note: when data is to be entered into STORET, and the parameter code specifies a field measurement (e.g. "Field pH"), this code is not required.
E | Indicates that extra samples were taken at composite stations.
G | A “G”-qualified sample value indicates that the analyte was detected at or above the method detection limit in both the sample and the associated field blank, equipment blank, or trip blank, and the value of the blank is greater than 10% of the associated sample value. The value in the blank shall not be subtracted from associated samples.
H | Value based on field kit determination; results may not be accurate. This code shall be used if a field screening test (i.e. field gas chromatograph data, immunoassay, vendor-supplied field kit, etc.) was used to generate the value and the field kit or method has not been recognized by the Department as equivalent to laboratory methods.
I | The reported value is between the laboratory method detection limit and the laboratory practical quantitation limit.
J | Estimated value; value not accurate. This code shall be used in the following instances: 1. surrogate recovery limits have been exceeded; 2. no known quality control criteria exist for the component; 3. the reported value failed to meet the established quality control criteria for either precision or accuracy; 4. the sample matrix interfered with the ability to make any accurate determination; or 5. if the data is questionable because of improper laboratory or field protocols (e.g. composite sample was collected instead of a grab sample). Note: a "J" value shall be accompanied by justification for its use. A "J" value shall not be used if another code applies (e.g., K, L, M, T, V, Y, PQL).
K | Off-scale low. Actual value is known to be less than the value given. This code shall be used if: 1. The value is less than the lowest calibration standard and the calibration curve is known to be non-linear; or 2. The value is known to be less than the reported value based on sample size, dilution or some other variable. This code shall not be used to report values that are less than the laboratory practical quantitation limit or laboratory method detection limit.
L | Off-scale high. Actual value is known to be greater than value given. To be used when the concentration of the analyte is above the acceptable level for quantitation (exceeds the linear range or highest calibration standard) and the calibration curve is known to exhibit a negative deflection.
M | When reporting chemical analyses: presence of material is verified but not quantified; the actual value is less than the value given. The reported value shall be the laboratory practical quantitation limit. This code shall be used if the level is too low to permit accurate quantification, but the estimated concentration is greater than the method detection limit. If the value is less than the method detection limit use "T" below. When reporting Oxygen Reduction Potential or Temperature: indicates a negative value When reporting Species: indicates male sex.
O | Sampled, but analysis lost or not performed, or station not sampled. Note: if reporting data to the U.S. Environmental Protection Agency Water Quality Storage and Retrieval (STORET) database, a numerical value must be entered. Such values are not meaningful and shall not be used.
Q | Sample held beyond the accepted holding time. This code shall be used if the value is derived from a sample that was prepared or analyzed after the approved holding time restrictions for sample preparation or analysis.
R | Significant rain in the past 48 hours. (Significant rain typically involves rain in excess of 1/2 inch within the past 48 hours.) This code shall be used when the rainfall might contribute to a lower or higher than normal value.
S | Secchi disk visible to bottom of waterbody. The value reported is the depth of the waterbody at the location of the Secchi disk measurement.
T | Value reported is less than the laboratory method detection limit. The value is reported for informational purposes, only and shall not be used in statistical analysis.
U | Indicates that the compound was analyzed for but not detected. This shall be used to indicate that the specified component was not detected. The value associated with the qualifier shall be the laboratory method detection limit. Unless requested by the client, less than the method detection limit values shall not be reported (see "T" above).
V | Indicates that the analyte was detected in both the sample and the associated method blank. Note: the value in the blank shall not be subtracted from associated samples.
W | Value observed is less than lowest value reportable under T code. This code is used when a positive value is not observed or calculated for a result, i.e. the test instrument or calculation is not capable of producing negative values. In these cases, the lowest reportable value, which is the lowest positive value that is observable, is reported with the W.
Y | The laboratory analysis was from an unpreserved or improperly preserved sample. The data may not be accurate.
Z | Too many colonies were present (TNTC), the numeric value represents the filtration volume.
? | Data is rejected and should not be used. Some or all of the quality control data for the analyte were outside criteria, and the presence or absence of the analyte cannot be determined from the data.
! | Data deviates from historically established concentration ranges.
* | Not analyzed due to interference. Note: if reporting data to the U.S. Environmental Protection Agency Water Quality Storage and Retrieval (STORET) database, a numerical value must be entered. Such values are not meaningful and shall not be used.
> | SJRWMD Internal Code. Field Blank analyte value is high (> 2 x MDL) and has been confirmed by rerun. The same analyte for all environmental samples associated with the Field Blank (those samples collected by the same sample collection team using the same collection device on the same date of collection) shall be assigned the > code.
# | SJRWMD Internal Code. See the accompanying narrative explanation for important information from the Project/Data Manager.

## SRWMD Internal Quality Codes
SRWMD Internal Quality Codes
Numeric Code | Quality Code | Description
1 | Good Continuous Data | Good quality continuous data that has been reviewed with supporting documentation.
2 | Good Quality Edited Data | Good quality continuous data manually corrected or edited with high confidence.
3 | Shifted values/restored offset | Restored constant value to dataset after equipment malfunction.
4 | Good WQ Data | Reviewed data associated with water quality grab samples.
5 | USGS Approved Data | Data has been collected and reviewed by the USGS.
20 | Reviewed Data | Data has been reviewed with no adjustments made.
25 | Good Manually Read Data | Manually collected data that has been reviewed and determined to be good quality. For discharge measurements, the data is estimated to be within 5% percent of the actual flow.
26 | Good edited manual data | Good quality manual data adjusted or edited with high confidence.
40 | Adjusted | Data has been adjusted based on reviewer’s professional judgement.
48 | Edited data requiring a drift greater than 0.20 | Continuous level data corrected by more than 0.20 ft.
49 | Edited data requiring a drift greater than 0.50 | Continuous level data corrected by more than 0.50 ft.
50 | Rated Fair | For discharge measurements, the data is estimated to be within 5.1% - 8% of the actual flow.
70 | Estimated | Value is estimated with high confidence.
82 | Linear interpolation across gap in records | Data interpolated/estimated based on recorded data points.
102 | Dry at gage | Below limit of stage reading or staff gage out of water.
104 | Unreliable estimate | Multiple values are estimated with low confidence.
123 | Partial Review of Field Data | Data reviewed for consistency with field sheet, but requires further verification
129 | Unverifiable | Data lacks supporting documentation or calibration.
130 | USGS Provisional Data | Data has been collected but not reviewed by the USGS.
135 | Poor Quality Data | Data is not reliable. For discharge measurements, the data are estimated to be >8% of the actual flow.
140 | Provisional | Data has not been reviewed.
150/151 | Missing Data | Missing data.
153 | Erroneous Data | Data is not valid.
170 | Data Not Available | Represents NA values in the data.
255 | Database Error | Database error code.